MODULE C: APPLIED PHYSICS

LESSON 5: Gas Movement

- Terminology

  - Fluid

  - Flow

  - Flowmeter

  - Speed

  - Velocity

  - Law of Continuity

  - Viscosity

  - Friction

  - Density

  - Laminar

  - Turbulent

  - Reynold’s Number

  - Transitional

  - Tidal Volume

  - Minute Ventilation

  - I:E ratio

  - Inspiratory time

  - Expiratory time

  - Peak Inspiratory Flowrate

  - Bernoulli's Principle

  - Venturi Principle

  - Fluid Entrainment

  - Low Flow Oxygen Delivery Systems

  - High Flow Oxygen Delivery Systems

  - Air Entrainment Masks

  - FDO2

  - Air-entrainment port

  - Jet Orifice

- Key Terms

  - Fluid - A substance that is capable of flowing and that changes its shape at a steady rate when acted upon by a force tending to change its shape and to assume the shape of its container.  Includes both liquids and gases

  - Flow – The bulk movement of a substance through space.

    - Volume per unit of time.

    - Measured in L/min, L/sec, ml/min, ml/sec.

    - Flow occurs because of a pressure gradient.

      - This gradient is also known as the driving pressure.

    - Flow is measured with a device called a flowmeter.

    - When studying oxygen therapy, there will be three types of flowrates that you will measure:

      - Oxygen Flowrate as measured with an oxygen flowmeter;

      - Air Flowrate as measured with an air flowmeter or calculated;

      - Total Flowrate which is the sum of the prior two and is a calculated value.

  - Speed – The distance traveled per unit of time.

    - This is a scalar measurement involving only magnitude.

    - Measured in miles per hour, feet per second, centimeters per second, kilometers per hour.

  - Velocity - The rate at which an object changes position.

    - A vector quantity involving both magnitude and direction.

  - Law of Continuity - The velocity of a fluid moving through a tube varies inversely with the cross-sectional area.

    - As the cross-sectional area decreases, the velocity increases to maintain a constant flow.

    - You can determine the flow rate present if you know the cross-sectional area and the velocity.

      - Cross−Sectional Area×Velocity=Flow5.08cm2×16.4cmsec=83.312cm3sec83.312cm3sec×60secmin=4,999ccmin=5Lmin

    - Example: A hose that is pinched results in an increased velocity to maintain a constant flow.

      - This follows the conservation of mass in that the amount of a fluid entering a tube must be the same as the amount leaving the tube.

      - This principle is used in jet and nozzles and clinically in nebulizers and gas entrainment devices.

  - Viscosity - The property of a fluid that resists the force tending to cause the fluid to flow.

  - Friction - Surface resistance to relative motion caused by the rubbing of one object or surface against another.

  - Density – Mass per unit of volume (mg/L).

  - Types of Flow – Three primary patterns of flow exist within the tracheobronchial tree:

    - Laminar - Smooth movement in a parabolic pattern through a smooth tube of fixed size.

      - The flow is present in layers (or lamina) that have the highest velocity in the center.

      - The parabolic shape is due to reduction in flow along the walls due to frictional resistance.

      - This is present when Poiseuille’s Law is applied.

        - The pressure required to produce a flow under these conditions is directly related to the viscosity, the length, and the flow rate present, and inversely related to the radius of the tube to a power of 4.

      - Present only in the most distal of airways.

    - P=V8ℓnπr4Turbulent – Flow where the pattern is a loss of streamlines and the presence of multiple eddy currents in a chaotic fashion.

      - The presence of multiple flow patterns requires a higher driving pressure.

      - The change from a laminar flow to a turbulent one occurs at a Reynold’s Number of greater than 2000.

      - Reynold’s Number is a dimensionless measurement (no units) that is determined from the following factors:

        - Reynold's Number=ν×d×2rhLinear velocity (v)

        - Density of the fluid (d)

        - Radius of the tube (r)

        - Viscosity of the fluid (h)

      - If you increase the radius, increase the velocity of the gas, reduce the viscosity, or increase the density of the gas, Reynold’s number will increase and flow will become turbulent.

      - Present in the upper airways.

    - Transitional – A flow which is a mixture of laminar and turbulent flow.

      - This is the type of flow which is predominant in the tracheobronchial tree.

  - Patient Flow Needs – The inspiratory flow rate varies between patients.  Normally it is 30L/min but can be as high as 60-100 L/min.  There are two methods of estimating the patient’s inspiratory flow rate and therefore the minimum flow needed by any device being used to provide gas flow to the patient.

    - VE×I+E, where I & E are the components of the I:E ratio.

      - Since the normal I:E ratio is 1:2, the minute ventilation is simply multiplied by 3.

    - PIFR=VttI×60

    - Example:

      - Minute Ventilation VE: 8 L/min

      - Tidal Volume: 0.4 L

      - Respiratory Rate: 20 breaths/min

      - Inspiratory Time: 1 sec

      - Total Flow =VE×I+E=8Lmin×3=24Lmin

      - Total Flow =VttI=0.4 L1 sec×60=24Lmin

  - Oxygen Therapy – If alveolar oxygen is reduced (and therefore arterial oxygen levels are reduced (hypoxemia), a simple method to increase the alveolar level of oxygen is to increase the fractional concentration of oxygen (FIO2) being provided.  There are four categories of oxygen delivery equipment available:

    - Low-Flow Oxygen Delivery Systems

      - These devices typically provide flows between 1/4 and 8 L/min, which do not supply all the patient’s peak inspiratory needs.  This means that additional flow must be made up by entraining room air which will cause the FIO2 delivered to be variable.

      - FIO2 will vary with the liter flow set on the flowmeter and the patient’s ventilatory pattern of breathing (Vt, f, regularity).

      - The actual flowmeter setting has nothing to do with if the device is a low- or high-flow system.

      - Examples of low-flow oxygen delivery systems include:

        - Nasal cannula

        - Nasal catheter

        - Transtracheal catheter (SCOOP)

      - Some authors include what Egan refers to as “Reservoir Systems” (simple mask, partial rebreather, and non-rebreather masks) as low-flow oxygen delivery systems.

      - These systems are also called variable-performance devices.

    - High-Flow Oxygen Delivery Systems

      - These devices provide a fixed oxygen concentration at a flow that equals or exceeds the patient’s peak inspiratory flowrate, thus ensuring a stable FIO2.

      - Examples of high-flow oxygen delivery systems include:

        - Air-entrainment masks

        - Air-entrainment nebulizers

          - Devices that attach to a nebulizer include:

            - Aerosol masks

            - Trach masks

            - Briggs (T-) adapters

            - Face tents

        - Blenders

        - Dual flowmeters

          - Sometimes is may be necessary to blend oxygen and air together to obtain a desirable FDO2.  The formula is:
FDO2=Oxygen Flow Rate+(.2×Air Flow Rate)Total Flow

          - Example: If an air flowmeter is set at 6 L/min and the oxygen flowmeter is set at 2 L/min, calculate the FDO2.
FDO2=Oxygen Flow Rate+(.2×Air Flow Rate)Total FlowFDO2=2+.2×68=2+1.28=3.28=.40

      - These systems are also called fixed-performance devices.

      - High-flow oxygen systems create the high flow rates through fluid entrainment.

        - The tube through which a flow of a source gas (typically oxygen) is altered by reducing the diameter.

        - The Law of Continuity states that as the cross-sectional area of a tube is reduced, the forward velocity increases.

        - Two methods of air entrainment are utilized in Respiratory Care:

          - Air-entrainment masks utilize jet mixing.

          - Air-entrainment nebulizers utilize the Bernoulli principle.

        - Jet Mixing

          - As the source gas proceeds through a narrowed opening (a jet), the forward velocity of the gas increases.

          - If a port is placed at the point of the jet opening (orifice), air can be entrained into and mixed with the flow of the source gas.

          - The amount of entrained air is regulated by either adjusting the jet orifice size or the size of the entrainment port.

            - The larger the air-entrainment port, the more room air is entrained, and the lower the FDO2 will be.

            - The smaller the air-entrainment port, the less room air is entrained, and the higher the FDO2 will be.

            - The smaller the jet orifice, the more room air is entrained and the lower the FDO2.

            - The larger the jet orifice, the less room air is entrained and the higher the FDO2.

          - Precise concentrations can be attained by regulating the jet orifice size or the size of the entrainment port.

          - The ratio of the amount of air entrained to the source gas flow can be determined and used to calculate the total flow the system can create.

          - To determine the Air:02 ratio for each FDO2, use the MAGIC BOX (Egan pg. 883).

          - The total flow rate can be determined by multiplying the oxygen flow rate by the entrainment ratio and adding that value to the oxygen flow rate.

            - This value is called Total Flow.

          - If the Total Flow exceeds the patient’s inspiratory flow the device is considered a high-flow device and the FDO2=FIO2.

        - Bernoulli Effect – As fluid flows through a tube and meets a restriction, the forward velocity will increase and the lateral wall pressure will decrease.

        - Venturi Principle:  If gas flowing through a tube meets a small enough constriction, the pressure will drop to sub atmospheric and actually entrain a second gas (fluid).

    - Reservoir Systems

      - These devices have mechanisms where additional oxygen is stored between breaths and made available to the patient during the inspiratory phase.

      - Examples of reservoir systems include:

        - Reservoir nasal cannulas

        - Simple masks

        - Partial-Rebreather masks

        - Non-Rebreather masks

    - Enclosures

      - These devices provide a controlled-oxygen environment in which the patient is placed.

      - Examples of enclosures include:

        - Oxygen Tents

        - Hoods

        - Incubators