RULES FOR INTERPRETING PFTS

STEP #1 – ACCEPTABILITY:  A minimum of three acceptable tests should be performed.

STEP #2 – REPRODUCIBILITY:

a.  Add the FVC + FEV1 for each test

b.  Choose the two tests with the highest sum

c.  These two tests are reproducible when the their  values for FVC within 5% or 150 mL of each other and  their values for FEV1 are within 5% or 150 mL of each other.

d.  If they are not both within 5% or 150 mL of each other – perform  another test.

SELECTION OF TEST RESULTS:

STEP #3 – FVC:  Select the highest FVC from the three trials.

STEP #4 – FEV1:  Select the highest FEV1 from the three trials.

STEP #5 – “BEST TEST”:  The test with the highest sum of FVC + FEV1

STEP #6 – FLOWS:  Take the flows from the best test (FEF25-75%, FEF200-1200, etc.)

STEP #7 – PEF:  Select the highest PEF from the three trials.

STEP #8 – FEV1/FVC (FEV1%):  Use the highest FEV1 and the highest FVC even if they come from different tests.

BRONCHODILATOR RESPONSIVENESS

STEP #9 –:  Order a post bronchodilator test if the FEV1 is less than 75% predicted.  The FEV1 post bronchodilator must improve 12% and 200 mL to be considered responsive.

% change   =   Post Drug – Pre Drug    x 100

Pre Drug

EXAMPLE:

|  | FVC | FEV1 Predicted FEV1 is 3.8L | FEF25-75% |
| --- | --- | --- | --- |
| TRIAL #1 | 4.0L | 3.15L | 2.6 |
| TRIAL #2 | 3.9L | 3.3L | 2.4 |
| TRIAL #3 | 3.9L | 3.1L | 2.5 |

- Are the tests reproducible?  __________________________________________

- What FVC should be reported?  ______________________________________

- What FEV1 should be reported?  _____________________________________

- What is the FEV1% predicted?  ______________________________________

- What FEV1/FVC% should be reported?  ________________________________

- What test should be used to report the FEF25-75%   _____________________

- What is the rule for reporting PEF?  ___________________________________

- Should a post bronchodilator test be ordered?  __________________________