# SELF-ASSESSMENT RSPT 2350 - Module C: Sampling Errors

| - Air Bubble with PaO2 less than 160 mm Hg | - Air Bubble with PaO2 greater than 160 mm Hg |
| --- | --- |
| pH ________________ | pH ________________ |
| PaCO2 ______________ | PaCO2 ______________ |
| PaO2 _______________ | PaO2 _______________ |
| - Heparin Dilution | - Venous Admixture |
| pH ________________ | pH ________________ |
| PaCO2 ______________ | PaCO2 ______________ |
| PaO2 _______________ | PaO2 _______________ |
| - Improper Cooling (Metabolic Effect) |  |
| pH ________________ |  |
| PaCO2 ______________ |  |
| PaO2 _______________ |  |
| - Increased Body Temperature (Hyperthermic or Febrile Patient) |  |
| Temperature Corrected (Actual or in vivo values) | Machine Measurement (37° C) (not corrected) |
| pH ________________ | pH ________________ |
| PaCO2 ______________ | PaCO2 ______________ |
| PaO2 _______________ | PaO2 _______________ |
| - Decreased Body Temperature (Hypothermic patient) |  |
| Temperature Corrected (Actual or in vivo values) | Machine Measurement (37° C) (not corrected) |
| pH ________________ | pH ________________ |
| PaCO2 ______________ | PaCO2 ______________ |
| PaO2 _______________ | PaO2 _______________ |

- Five Sources of Error:

  - “A”: Air bubble in the sample

    - Remove all air bubbles within 1-2 minutes of obtaining sample.

    - Do not mix a sample until after the air is removed.

    - Foam in the sample.

    - Air bubble that enters the ABG machine during analysis.

    - Discard a sample that has foam.

  - “V”: Venous Sample is drawn or Venous Admixture.

    - Know normal venous values and ways to evaluate a venous draw (color, no flash or pulsation of blood, no auto-filling).

    - Check pulse ox at the time of the draw.

  - “E”: Excessive or improper anticoagulation.

    - Withdraw the appropriate amount of flush solution when drawing from an A-line.

    - Check department policy and manufacturer’s recommendations.

  - “R”: Rate of Metabolism

    - Analyze immediately or ice.

    - Leukocyte Larceny

      - Check for leukemia and know WBC levels.

    - Patient not in steady state when the ABG is drawn.

      - Wait 30 minutes to draw an ABG after making a change in FIO2, vent settings or any situation that may increase a patients pain or anxiety level (Suctioning, starting an IV, vomiting, etc.).

  - “T”: Temperature

- Other Errors

  - Recording Error

    - Error in charting or recording wrong FIO2.

    - Check and double check the FIO2 the patient is on.

    - Is the patient’s oxygen on AND connected to the O2 delivery device

  - Time

- Rules for recognizing/preventing errors

  - Dalton’s Law of Partial Pressures: PaO2 + PaCO2 cannot be greater than 140 torr on room air and barometric pressure (760 mm Hg).

- Treat the patient and not the ABG!

  - Correlate the clinical findings with the ABG results.

    - Does the patient look & feel bad and the ABG results are good?

    - Does the patient look & feel good and the ABG results are bad?

    - Does the ABG make sense based on Henderson Hasselbalch equation?

      - You can’t have only one parameter that is abnormal (pH, PaCO2, HCO3-)

      - Example: pH of 7.20, PaCO2 of 38 torr, HCO3- of 25 mEq/L

- GAS LAWS

  - Boyle’s  Law

    - Constant:

    - Equation:

    - Relationship:

    - Clinical Application:

  - Charles’ Law

    - Constant:

    - Equation:

    - Relationship:

    - Clinical Application:

  - Gay Lussac’s Law

    - Constant:

    - Equation:

    - Relationship:

    - Clinical Application:

  - Dalton’s Law

  - Henry’s law