SELF ASSESSMENT RSPT 2420: MODULE A – PULMONARY FUNCTION TESTING

- Normally, the SVC should be within 5 % of the FVC.

- Given the following PFT findings, calculate the FEV1% and FEV1% predicted

FEV1  2.46 L		FEV1 predicted  3.98 L 		FVC	3.8 L

  - FEV1% 64.7%

  - FEV1% predicted 61.8%

- When evaluating a PFT, the % predicted column should read between 80 to 120 % to be considered normal.

- Name the three criteria used to calculate the predicted values:

  - AGE

  - GENDER

  - HEIGHT

- If the lung volumes of a patient with severe airtrapping is evaluated, and the patient had lung volumes measured with both a body plethysmograph and a closed circuit He dilution test, which would give the highest value for RV?  Which would be more accurate?
BODY PLETHYSMOGRAPHY

- Given the following, calculate the remaining lung volumes
ERV	1400 mL	TLC = 6200 mL   Vt	600 mL	IC  3700 mL

  - FRC 2,500 mL

  - RV 1,100 mL

  - IRV 3,100 mL

  - VC 5,100 mL

- Airtrapping is indicated on a PFT by an increase in the RV, RV/TLC, FRC, TLC.

- Hyperinflation is indicated on a PFT by an increase in the RV, RV/TLC, FRC, TLC.

- What are the normal values for the following?

  - FEV0.5% 60%

  - FEV1% 83% minimum is 75%

  - FEV2% 94%

  - FEV3% 97%

- Based on the Gobal Initiative for COPD, if the FEV1% is less than 70% but the FEV1 predicted is greater than 80%, the patient would be classified as __________________ COPD.

  - Stage 0 At risk

  - Stage I Mild

  - Stage II Moderate

  - Stage III Severe

- Interpret the following PFT exams:

| Test | Predicted | Actual/Observed | % Predicted |
| --- | --- | --- | --- |
| FVC (L) | 4.3 | 4.0 | 93% |
| FEV1 (L) | 3.44 | 3.23 | 93.8% |
| FEV1/FVC% |  | 81% |  |

** FEV1/FVC%:  minimum acceptable value is 75%

**Predicted values are based on age, height, sex

Interpretation: Normal

| Test | Predicted | Actual/Observed | % Predicted |
| --- | --- | --- | --- |
| FVC (L) | 5.10 | 3.30 | 64.7% |
| FEV1 (L) | 3.83 | 3.18 | 83% |
| FEV1/FVC% |  | 96% |  |

Interpretation: RESTRICTIVE DEFECT

| Test | Predicted | Actual/Observed | % Predicted |
| --- | --- | --- | --- |
| FVC (L) | 6.10 | 4.99 | 81.9 |
| FEV1 (L) | 4.58 | 2.04 | 44.6 |
| FEV1/FVC% |  | 41 |  |

Interpretation: OBSTRCTIVE DEFECT

| Test | Predicted | Actual/Observed | % Predicted |
| --- | --- | --- | --- |
| FVC (L) | 5.2 | 3.9 | 75% |
| FEV1 (L) | 4.5 | 4.16 | 92.4% |
| FEV1/FVC% |  | 94% |  |

Interpretation: RESTRICTIVE DEFECT

| Test | Predicted | Actual/Observed | % Predicted |
| --- | --- | --- | --- |
| FVC (L) | 5.0 | 3.0 | 60 |
| FEV1 (L) | 4.0 | 2.0 | 70% |
| FEV1/FVC% |  | 94% |  |
| DLCO | 34 | 15.9 | 47% |

Interpretation: RESTRICTIVE DEFECT WITH REDUCED DIFFUSION.